Analysis and Simulation of Active Clamped Quasi-Resonant DC Link Inverter

ISMAIL AKSOY, HACI BODUR, HULYA OBDAN, NUR BEKIROGLU

Electrical Engineering Department

Yildiz Technical University

Besiktas, 34349, Istanbul

TURKEY

Abstract: This paper proposes a simulation developed to use pulse width modulation (PWM) technique with the active clamped quasi- parallel resonant dc link (ACQPRDCL) inverter in order top increase the advantages of  the PWM which allows to reduce the switching losses of the power devices. The new ACQPRDCL ensures zero crossing for a time period, and at any time required for soft swiching(SS) and PWM operation of the inverters, respectively.

The principle of operation is analyzed and verified by PSPICE simulations.

Keywords: PWM, ACQPRDCL, ACQPRDCL inverter, soft switching, soft switching inverter, simulation.

1  Introduction

Resonant techniques are used generally to provide soft switching in soft switching inverters (SSI). In fact, this is not a new idea because resonant circuits had been used to achieve the forced commutation of thyristors for many years. SS inverters are divided into two broad categories namely pole commutated and resonant dc link inverters (PCI and RDCLI). While PCI basically has one resonant tank per pole or leg and a capability of PWM operation, RDCLI has one common tank on dc link but not the PWM operation capability. Moreover, PCI has more components and a higher cost than its RDCLI counterpart [1-14].

Soft switching inverters have been proposed to minimize the switching losses. One of the most successful and popular soft switching topologies is the resonant bank in the DC link and a control strategy called sigma delta modulation technique proposed by recent papers. One of the biggest problem of the resonant link inverters is that the control strategy of the inverter is not capable of offering facilities of PWM technique such as improving the output voltages of the inverter by increasing the switching frequency. So far e few studies have been reported to overcome this problem [1-14].

A lot of research on RDCLI having the cheapest solution for SS has been presented in recent years. RDCL inverters are divided into two major groups namely basic resonant and parallel resonant dc link inverters (BRDCLI and PRDCLI). The inverter is connected to the voltage source via an inductor, there is not the PWM operation capability, and the inverter voltage stress is very high in the BRDCLI basically. To restrict the voltage stress, the active and passive clamped (AC and PC) BRDCL inverters have been improved. Also, the quasi resonant (QR) subgroups of these inverters have been presented to provide the PWM operation capability for these inverters, which can generally operate with discrete pulse modulation (DPM) [1]-[3], [6], [8]-[10],[14].

In this study, a new ACQPRDCL circuit for SS inverters is presented. It ensures that dc link voltage falls to zero at any time required and stays at zero for a time period needed. Thus, it provides SS and PWM operation for the inverters. Also, the new ACQPRDCL operates under SS, is implemented by using only one auxiliary active switch, and so has a simple structure and ease of control. The proposed inverter is analyzed and simulated which is illustrated in Fig.1. The simulation results obtained from the normal PWM inverter were compared with the resuts obtained from the proposed ACQPRDCL inverter.

Fig.1 The circuit configuration ACQPRDCL inverter.

2  Operation and Analysis of

The ACQPRDCL

The proposed ACQPRDCL inverter shown in Fig.2 consist of a dc link switch S1, auxiliary switch S2, resonant inductor Lr, resonant capacitor Cr. DF , Tinv and Io are the equivalent elements of the inverter feeding an ac motor as a load. To simplify the analysis, all the components ( semiconductor switches, diodes, inductors and capacitors ) are assumed ideal.

Fig.2 Equivalant circuit of the proposed ACQPRDCL inverter for explanation of the link operation.

To illustrate the soft switching characteristics of the proposed technique the operation can be divided in to nine operating intervals. The operating waveforms in different intervals of operation are shown in Fig.3.

Interval 1 (t0−t1): At t=t0, as the switch T1 is in the on state and the turn on signal is applied to the gate T2 and this mode starts. For this mode, the following equations can be written as

iLr=ViZ1sin(ω1(t−t0))	(1)

vCr=−Vicos(ω1(t−t0))+Vi	(2)

Interval 2 (t1−t2): The switch T1 turned off at the beginning of this mode. A parallel resonance starts via the resonant path Cr-Lr-T2-Cs. For this resonance

iLr=(ILr1+CeCsI0)cos(ω2(t−t1))+Vi−VCr1Z2sin(ω2(t−t1))

−CeCsI0	(5)

vCr=−CeCr[(Vi−VCr1)cos(ω2(t−t1))−Z2(ILr1+CeCsI0)sin(ω2(t−t1))	−(Vi−VCr1)]−ICr+Cs(t−t1)+VCr1	(6)

vCs=CeCs[(Vi−VCr1)cos(ω2(t−t1))−Z2(ILr1+CeCsI0)sin(ω2(t−t1))	−(Vi−VCr1)]−I0Cr+Cs(t−t1)+Vi	(7)

are obtained. In these equations

Ce=CrCsCr+Cs	(8)

ω2=1LrCe	(9)

Z2=LrCe	(10)

are valid. The voltage of the capacitor Cr falls to zero and so the diode DF starts conducting under ZVS at the end of this interval at t2.

Interval 3 (t2−t3): At t=t2, as the diode DF is turned on, a serie resonance starts via Cr-Lr-T2-DF. For this resonance

iLr=ILr2cos(ω1(t−t2))−VCr2Z1sin(ω1(t−t2))	(11)

vCr=VCr2cos(ω1(t−t2))+Z1ILr2sin(ω1(t−t2))	(12)

are obtained. When the current iLr of the inductor drops to zero and T2 is turned off under ZVS and ZCS at t3, this mode is finished.

Fig.3 Operating waveforms of the proposed inverter in different intervals of operation.

Interval 4 (t3−t4): The diode D2 is turned on under ZVS. For this interval

iLr=−VCr3Z1sin(ω1(t−t3))	(13)

vCr=VCr3cos(ω1(t−t3))	(14)

can be written. When the current iLr of the inductor drops to -I0and the diode DF is turned off under ZVS at t5, this mode is finished.

Interval 5 (t4−t5): At t=t5, as the diode DF is turned off, a parallel resonance starts via Lr, Cr, Cs, D2. For this resonance

iLr=−(1−CeCs)I0cos(ω2(t−t4))−VCr4Z2sin(ω2(t−t4))−CeCsI0	(15)

vCr=−CeCr[−VCr4cos(ω2(t−t4))+Z2(1−CeCs)I0sin(ω2(t−t4))

+VCr4]−I0Cr+Cs(t−t4)+VCr4	(16)

vCs=CeCs[−VCr4cos(ω2(t−t4))+Z2(1−CeCs)I0sin(ω2(t−t4))

+VCr4]−I0Cr+Cs(t−t4)	(17)

are obtained. When Cs voltage reaches the source voltage Vi at t5, the diode D1 is turned on and this interval stops.

Interval 6 (t5−t6): Just after the diode D1 is turned on at t6, a serie resonance starts via Lr, Cr, D1, Vi, D2. For this stage

iLr=ILr5cos(ω1(t−t5))+Vi−VCr5Z1sin(ω1(t−t5))	(18)

vCr=−(Vi−VCr5)cos(ω1(t−t5))+Z1ILr5sin(ω1(t−t5))+Vi	(19)

are obtained. When the voltage of the capacitor Cr falls to zero and the diode D3 is turned on under ZVS at t7, this interval is finished.

Interval 7 (t6−t7): At the beginning of this mode, the diode D3 is turned on. For this mode

iLr=ViLr(t−t6)+ILr6	(20)

can be written. iLr= -I0, the diode D1 is turned off and   T1 is turned on under ZVS, this mode is finished.

Interval 8 (t7−t8): At t=t7, T1 is turned on. For this mode

iLr=ViLr(t−t7)−I0	(21)

are obtained. When the current iLr of the inductor drops to zero , the diode D2 and D3 are turned off under ZCS, this interval is finished.

Interval 9 (t8−t9): During this mode, the load is fed by the dc voltage source via the main transistorT1. The duration of this mode is a large part of the switching cycle of the PRDCL circuit. Consequently, one switching cycle is completed and another cycle starts  at t=t9=t0.

The proposed inverter has the following advantages:

1. All semiconductor devices in the circuit are switched under soft switching. The main switch is turned on and off with ZVS. The auxiliary switch is turned on with ZCS and off with ZVS. The equivalent diode operates under ZVS, and the auxiliary diode is turned on under ZVS and turned off under ZCS.

2. The main switch of this circuit and also all switches of the inverter considered to control are not subjected to any additional voltage stresses. Moreover, the current stresses on the main and auxiliary devices of the circuit are very low.

3. The PRDCL circuit has a more simple structure and more ease of control than most of the similar circuits presented previously. Because the circuit

is realized by using only one auxiliary switch, an auxiliary diode, and a resonant inductor and a resonant capacitor.

4. The new PRDCL ensures zero crossing on the DC link voltage at any time and for a time period required for the PWM and SS operation of the inverter, respectively.

5. The circulating energy is quite small and it is slightly dependent on the load current because the fall and the rise of the zero crossing are provided by nearly a quarter resonance.

6. The auxiliary switch and diode devices are subjected to a voltage by nearly twice the input voltage. It can be considered as a drawback of the new circuit.

3  Simulation Results

Computer simulation for the ACQPRDCL inverter was conducted with PSPICE. The parameters used in the simulation were Vi=250 V; Lr=68µH; Cr=68nF; Cs=33nF. The dc link voltage, resonant inductor current, resonant capacitor voltage and obtained from a PSPICE simulation are presented in Fig.4 (a)-(f) .Simulated results were obtained with a load current of about 5 A.

Fig.4(a) shows the dc link voltage input to the inverter can be pulled down to zero and can return to normal dc link voltage quickly as expected. The zero voltage period is short and in the order of the switching times of the inverter. The simulated current in resonant inductor is shown in Fig.4(b). Fig.4(c) shows the resonant capacitor voltage in the quasi- resonant circuit. Fig.4(d) shows the voltage and current waveforms of the main switch operating at hard switching conditions. From this figure, it can be seen that the main switch is turned on and the main diode is turned of with hard switching simultaneously, and also a short circuit by means of these main devices occurs at the same time. Also, the main switch is turned off with hard switching losses of very high values occure in this hard switching case.

From the voltage and current waveforms of the main switch S1 given in Fig.4(e) for the soft switching case, it can be seen that S1 is turned on and off with ZVS through the inductor Lr and the capacitor Cr, and so the switching losses of S1 are nearly zero. From the voltage and current waveforms of the auxiliary transistor T2 given in Fig.4(f)  for the soft switching, it is clearly seen that T2 is turned on under ZCS by the inductor Lrand turned off under ZVS by the capacitor Cr, and so the switching losses of T2 are nearly zero.

Although the peak value of resonant inductor current is greater than the peak load current, the rms value of this current is much lower than that of the load current. The soft switching of the devices in the ACQPRDCL also contributes to low power loss.

(a)

(b)

(c)

(d)

(e)

(f)

Fig.4 PSPICE simulation of the ACQPRDCL inverter circuit (a) DC link voltage, (b) Current in resonant inductor Lr, (c) Voltage across resonant capacitor Cr, (d) The voltage and current of S1 for hard switching, (e) The voltage and current of S1 for soft switching, (f) The voltage and current of S2 for soft switching.

4  Conclusion

In this study, a new ACQPRDCL circuit is presented. This circuit provides zero crossings on the dc link to implement the SS and PWM operation of the inverters. The new circuit combines most desirable features of the circuits presented previously and overcomes most drawbacks of these circuits by using only one auxiliary transistor.

The operating principle of a simple suitable for ZVS inverters has been explained and its operation under different modes analyzed.The proposed ACQPRDCL circuit is simple and has the advantages of minimum voltage stress, snubberless ZVS for inverter switches, and possibility of high frequency operation.

Consequently, new ACQPRDCL circuit was analyzed in detail. It was observed that the theoretical analysis of this circuit was exactly verified by PSPICE simulation of a 1250 W and 50 kHz ACQPRDCL circuit.

References:

# [1] G. Venkataramanan and D.M. Divan, Pulse Width Modulation with Resonant DC Link Converters, IEEE Trans. on Ind. Appl., Vol.29, no.1, 1993, pp. 113-120.

[2] D. M. Divan and G. Venkataramanan, Design Methodologies for Soft Switched Inverters, IEEE Trans. on Ind. Appl., Vol.29, no.1, 1993, pp. 126-135.

[3] D. M. Divan, L. Malesani and P. Tenti, V. Toigo, A Synchronized Resonant DC Link Converter for Soft-Switched PWM, IEEE Trans. on Ind. Appl., Vol.29, No.5, 1993, pp. 940-948.

[4] J. He, N. Mohan and B. Wold, Zero-Voltage-Switching PWM Inverter for High- Frequency DC-AC Power Conversion, IEEE Trans. on Ind. Appl., Vol.29, No.5, 1993, pp. 959-968.

[5] L. Malesani, P. Tenti, P. Tomasin and V. Toigo, High Efficiency Quasi-Resonant DC Link Three-Phase Power Inverter for Full-Range PWM, IEEE Trans. on Ind. Appl., Vol.31, No.1, 1995, pp. 141-147.

[6] V. V. Deshpande and S. R. Doradla, A New Topology for Parallel Resonant DC Link with Reduced Peak Voltage, IEEE Trans. on Ind. Appl., Vol.32, No.2, 1996, pp. 301-307.

[7] Y. C. Jung, H. L. Liu and G. H. Cho, Soft Switching Space Vector PWM Inverter Using a New Quasi-Parallel Resonant DC Link, IEEE Trans. on Power Electron., Vol.11, No.3, 1996, pp. 503-510.

[8] S. Chen and T. A. Lipo, A Novel Soft-Switched PWM Inverter for AC Motor Drives, IEEE Trans. on Power Electron., Vol.11, No.4, 1996, pp. 653-659.

[9] V. V. Deshpande, S. R. Doradla and D. M. Divan, A Current-Prediction Scheme for the PRDCL Inverter-Fed Induction Motor Drive, IEEE Trans. on Power Electron., Vol.12, No.1, 1997, pp. 64-69.

[10] V. V. Deshpande and S. R. Doradla, A Detailed  Study of  Losses in the Reduced Voltage Resonant Link Inverter Topology, IEEE Trans. on Power Electron., Vol.13, No.2, 1998, pp. 337-344.

[11] Y. Chen, A New Quasi-Parallel Resonant DC Link for Soft-Switching PWM Inverters, IEEE Trans. on Power Electron., Vol.13, No.3, 1998, pp. 427-433.

[12] V. Pickert and C. M. Johnson, Three-Phase Soft-Switching Voltage Source Converters for Motor Drives. Part 1: Overview and Analysis, IEE Proc.-Electr. Power Appl., Vol.14, No.2, 1999, pp. 147-154.

[13] H. Bodur, I. Aksoy, H. Obdan, "A New Actively Clamped Quasi Parallel Resonant DC Link Circuit", 9th National Conferences on Electrical-Electronics-Computer Engineering,19-23 September 2001, Kocaeli, p.p. 183-186.

[14] H. Obdan, H. Bodur, I. Aksoy, N. Bekiroglu, G. Yıldırmaz, “A New Parallel Resonant DC Link for Soft Switching Inverters”, Electric Power Components and Systems, vol.33, no.2, pp. 159-169, Feb 2005.