The Temperature Field in the Greenhouse during Clear-sky Day

MIROLJUB ĐURIĆ,

Faculty of Technical Sciences

University of Novi Sad

SERBIA AND MONTENEGRO

DRAGOLJUB LJ. MIRJANIĆ

Faculty of Medicine

University of Banja Luka

BOSNIA AND HERZEGOVINA

NIKOLA BUCALOVIĆ

Faculty of Physics

Belgrade

SERBIA AND MONTENEGRO

VJEKOSLAV SAJFERT,

Technical Faculty “Mihajlo Pupin” Zrenjanin,

University of Novi Sad

SERBIA AND MONTENEGRO

Abstract: - In this paper is analyzed temperature field in greenhouse made by the sun energy. The obtained formula for the temperature could not be expressed over elementary functions because the solution contains integral without primitive function. Therefore this integral was simulated by algebraic function and temperature was calculated with approximate expression. The results obtained have shown that the used approximation is a good one since theoretical temperature curves were in good agreement with experimental data.

.

Key-words: - sun energy, approximate solution, experimental testing

1  Introduction

During a clear-sky day the warming up of greenhouse begins at the east and ends at the west side. We shall assume that the greenhouse roof warms up during the whole day. The mathematics model for this case requires that the source function in the temperature field equation contains a line of point sources which turn on in different moments of time. The convection in the greenhouse can be neglected and only diffusion and absorption effects affect the distribution of the thermal energy [1,2]. Taking this into account, we shall analyze the temperature-field equation [3] which reads:

|  | ∂T∂t−DΔT+PT=μ=1MAμδ(r−rμ)Θ(t−tμ). | (1) |
| --- | --- | --- |

Here, T is temperature in °C, D is the diffusion coefficient of air, P is the thermal energy absorption factor. The fitting factor A has the dimension m3°Cs, and Θ(t−tμ) is the Heaviside’s step function:

|  | Θ(t−tμ)=0 , t<tμ. | (2) |
| --- | --- | --- |

In (1), δ(r−rμ) denotes the Dirac’s delta function.

Here, we shall study the particular integral of (1), because the temperature of the homogeneous part vanishes very quickly due to the absorption effects.

2. The solution of the temperature field equation

Equation (1) shall be solved by the operator method [4]. Therefore we introduce the following operators:

∂∂t≡Dt ; Dt−1=dt(…) ; DΔ−P≡F Δ=∂2∂x2+∂2∂y2+∂2∂z2

|  |  | (3) |
| --- | --- | --- |

For delta function, we shall use the integral representation:

|  | δ(r−rμ)=1(2π)3d3keik(r−rμ)δ(t)=12π−∞∞dωeiωt | (4) |
| --- | --- | --- |

The Heaviside’s function represents integral of the delta function. Consequently we can write:

Θ(t)=dtδ(t)=dt12π−∞∞dω eiω(t−tμ)=

|  | =12πi−∞∞dωωeiω(t−tμ) | (5) |
| --- | --- | --- |

Taking into account (3), (4) and (5) the equation (1) becomes:

(Dt−F)T=1(2π)4i⋅

|  | μ=1MAμd3k−∞∞dωeik(r−rμ)+iω(t−tμ)ω | (6) |
| --- | --- | --- |

The formal solution of (1) is given by:

|  | T=(Dt−F)−1μ=1MAμδ(r−rμ)δ(t−tμ) | (7) |
| --- | --- | --- |

The operator Dt−F can be written in two ways:

|  | Dt−F=Dt(1−Dt−1F) | (8) |
| --- | --- | --- |

The corresponding inverse operators, taking into account that Dt and F commute, can be written in two ways too:

|  | Dt−F1−1=n=0∞FnDt−n−1 | (9) |
| --- | --- | --- |

and

|  | Dt−F2−1=−n=0∞DtnF−n−1 | (10) |
| --- | --- | --- |

After substitution (4) and (5) in (7) and application of the operator (9), the following expression is obtained:

T=μ=1MAμ(2π)4id3k−∞∞dωωeik(r−rμ)+iω(t−tμ)

|  | n=0∞(−1)nP+Dk2iωn1iω | (11) |
| --- | --- | --- |

If the series in (11) is convergent it leads to the result:

T=−μ=1MAμ(2π)4d3keik(r−rμ)−∞∞dωeiω(t−tμ)ω[ω−i(P+Dk2)]

|  |  | (12) |
| --- | --- | --- |

If the series does not converge, instead the operator (9), the operator (10) has to be applied. The series obtained in this way is convergent and it leads to the same result as in (12).

The integral over frequencies can be solved with help of the integral in complex plane:

Ldzeiτ zz(z−iz0); τ=t−tμ>0 ; z0=P+Dk2

Since τ>0, the contour L has the form given in Fig 1.

Fig.1

The integral over big semi-circle is equal to zero. So we obtain:

−∞∞dωeiτωω(ω−iz0)+π0iεeiϕeiτ⋅iεeiϕεeiϕ(εeiϕ−iz0)dϕ=

|  | =2πiResz=z0eizτz(z−iz0) | (13) |
| --- | --- | --- |

where from it follows:

−∞∞dωeiω(t−tμ)ω[ω−i(P+Dk2)]=

|  | =πP+Dk22e−(P+Dk2)(t−tμ)−1 | (14) |
| --- | --- | --- |

After substitution (14) in (12), the expression for temperature becomes:

|  | T=μ=1MAμ16π3(Jμ−2Iμ) | (15) |
| --- | --- | --- |

where

|  | Jμ=d3kei(r−rμ)kDk2+P | (16) |
| --- | --- | --- |

and

|  | Iμ=d3ke−D(t−tμ)k2+i(r−rμ)k−P(t−tμ)Dk2+P | (17) |
| --- | --- | --- |

In the integral (16) we go over to spherical coordinates and after integration over angles the following result is obtained:

|  | Jμ=2πρμD−∞∞dkksinρμkk2+PD | (18) |
| --- | --- | --- |

where

|  | ρμ=r−rμ | (19) |
| --- | --- | --- |

For finding of the integral (18) the following integral in the complex plane has to be used:

|  | Ldzzeiρμkz2+z02 ; z0=PD | (20) |
| --- | --- | --- |

Fig. 2

Since ρμ>0, the contour of integration is of the form given in Fig 2.

On the basis of quoted, we can write

−∞∞dkkeiρμkk2+PD=i−∞∞dkksinρμkk2+PD=

=2πiResz=iz0zeiρμz(z−iz0)(z+iz0)=iπe−iρμPD

it means that:

|  | −∞∞dkksinρμkk2+PD=πe−ρμPD | (21) |
| --- | --- | --- |

Including (21) into (18) we obtain:

|  | Jμ=2π2ρμDe−ρμPD | (22) |
| --- | --- | --- |

The integral (17) can be solved by going over to spherical coordinates. The integration over angles reduces (17) into

Iμ=−2πρμdt−∞∞dk ke−(t−tμ)(Dk2+P)sinρμk

|  |  | (23) |
| --- | --- | --- |

In (23) the Poisson type integrals appear. After solving these integrals we find that:

|  | Iμ=4πD32dte−P(t−tμ)−ρμ24D(t−tμ)(t−tμ)32 | (24) |
| --- | --- | --- |

Including (22) and (24) into (15) we get the following formula for temperature

T=μ=1MAμ[C+18πρμDe−ρμPD

|  | −1(πD)32dte−P(t−tμ)−ρμ24D(t−tμ)(t−tμ)32] | (25) |
| --- | --- | --- |

where C=C(ρμ) is arbitrary integration constant coming from integration over time in (23).

Integral over time in (24) has not the primitive function and therefore it will be solved approximately. We shall introduce the notation:

f(x)=dxe−Px−ρμ24Dxx32 ; t−tμ=x ; x≥0

|  |  | (26) |
| --- | --- | --- |

The function in this integral will be denoted by

|  | Φ(x)=e−Px−ρμ24Dxx32 | (27) |
| --- | --- | --- |

It is seen that Φ(x)=0 for x=0 and x=∞. This function is positive everywhere. It means that the function f(x) increases everywhere. The function Φ(x) has the maximum in the point

|  | xpμ=34P1+49Pρμ2D−1 | (28) |
| --- | --- | --- |

It means that the function f(x) for xpμ has the inflection point. For x<xpμ the function f(x) is concave, while for x>xpμ it is convex.

Taking into account the features of the function Φ(x), given above, it can be simulated for x≥0by this function.

|  | Φ(x)=Bxx4+a4 ; x≥0 | (29) |
| --- | --- | --- |

It is seen that Φ(0)=0 and Φ(∞)=0, i.e. it behaves in the same way as the function Φ(x). Parameters aandBwill be determined requiring that the coordinates of maximum of these curves be in the same point. From (29) we have,

|  | Φ'(x)=a4−3x4(x4+a4)2 | (30) |
| --- | --- | --- |

wherefrom it follows that the abscissa of its maximum is

|  | xp=a43 | (31) |
| --- | --- | --- |

Equating xpμand xpμ we obtain:

|  | aμ=43xpμ | (32) |
| --- | --- | --- |

The maximum of the function Φ(x)is:

|  | Φ(x)max=Bxpxp4+a4=Bxpμxpμ4+aμ4 | (33) |
| --- | --- | --- |

This result follows from the requirement xp=xpμ.

The maximum of the function Φ(x)is given by:

|  | Φ(x)max=e−Pxpμ−ρμ24Dxpμxpμ32 | (34) |
| --- | --- | --- |

Equating Φ(x)max and Φ(x)max we obtain the value of parameter Bμ:

|  | Bμ=xpμ4+aμ4xpμ52e−Pxpμ−ρμ24Dxpμ | (35) |
| --- | --- | --- |

Since the function Φ(x)is simulated by the function Φ(x), it means that the function f(x)simulates the function f(x):

|  | f(x)=dx {Φ(x)=Bμ2aμ2arctgxμ2aμ2 | (36) |
| --- | --- | --- |

The approximate expression for the function Iμ we find including x=t−tμ into (36). The expression obtained we include into (24). In this way we have:

|  | Iμ=4πD32Bμ2aμ2arctg(t−tμ)2aμ2 | (37) |
| --- | --- | --- |

The function Jμ is given by the formula (22), while approximate formula for Iμ is given by (37). After including (22) and (37) into (15), we obtain the approximate formula for the temperature:

T=μ=1MAμCμ+e−ρμPD8πρμD−14(πD)32Bμaμ2arctg(t−tμ)2aμ2

|  | aμ=43xpμ | (38) |
| --- | --- | --- |

Undetermined part of (38), containing Cμ, will be determined from requirement that after sufficiently long time the temperature becomes equal to the night temperature TN. When t→∞, the function arctg(t−tμ)2aμ2 becomes equal π2. From this requirement it follows

T(∞)≡TN=μ=1MAμCμ+e−ρμPD8πρμD−14(πD)32Bμaμ2π2

i.e.

μ=1MAμCμ+e−ρμPD8πρμD=TN+μ=1MAμ14(πD)32Bμaμ2π2

|  |  | (39) |
| --- | --- | --- |

Substituting (39) in (38) we obtain the final expression for the temperature:

T(t)=TN+14(πD)32μ=1MAμBμaμ2π2−arctg(t−tμ)2aμ2

|  |  | (40) |
| --- | --- | --- |

Notations in (40) are given above but it is suitable to be written again:

aμ=43xpμ ; xpμ=34P1+49PDρμ2−1Bμ=e−Pxpμ−14Dxpμρμ2(xpμ4+aμ4)xpμ52 ; ρμ=r−rμ

|  |  | (41) |
| --- | --- | --- |

3. An illustrative example as a conclusion

We shall consider cubic greenhouse whose edge is 3m. The thickness of the glass is 5·10−3m. First is lightened east side at 6 o’ clock. At 9 o’ clock the sun is on the south side and at 12 o’ clock comes to the west side. The roof of the greenhouse is lightened from 6 o’ clock up to 20 o’ clock. The sources will be assumed at the centers of the east, south and west side of the cube, as well as at the center of the roof. The origin is located at the center of the cube. We are interested in temperatures inside of the cube and therefore we shall take that: r1=1.4j ; r2=1.4i ; r3=−1.4j and r4=1.4k. It will be pointed out that these are approximate values of rμ. The ends of the real vectors rμare on the glass walls of the greenhouse ant their intensities are 1.5m.

On the basis of the formulae (40) and (41) were calculated time dependencies of the temperature in the center of the greenhouse, and at the points with coordinates (0, 0.5, 1.2) and (0, −0.5, −1.2). All coefficients Aμ are equal and their value is 3×0.005Ω=0.045Ω m3s−1. The fitting factor , determined from the experiments, was taken Ω=7s−1. The diffusion coefficient of air is D=1.74·10−5 m2s [5,6], while P=1.305·10−4 s−1. The night temperature is taken TN=10 °C.

The results of numerical calculation are given on the figures 3, 4 and 5. On the figure 3 it is seen that the temperature near the roof decreases. This means that heat moves from the roof to other parts of the greenhouse. In the center of the greenhouse and in nursery plant the temperatures have the maxims and they are lower than in the vicinity of the roof.

Fig. 3

Fig 4.

Fig. 5

The behavior of the temperature described above is in the satisfactory agreement with the experiments.

References:

[1]	Roy, J.C., Boulard, T., Baillty, Y., Characterisation and modelling of the heat transfer from heating tubes in a greenhouse, Preoceedings on Agricultural Engineering into the Third Millennium, Ag Eng, Warwick, 2000, Part I, pp. 152-153.

[2]	Smirnov, I.V., Course of Advanced Mathematics I, Nauka, Moscow, 1965, pp. 155-159.

[3]	Vladimirov, V.S., Equations of Mathematical Physics, Nauka, Moscow, 1971, p. 255

[4]	Davidov, A.S., Quantum Mechanics, Nauka, Moscow, 1973, p. 431

[5]	Kuzminchev, V.E., Laws and Formulae of Physics, Naukova dumka, Kiev, 1989, p. 163.

[6] 	Kozić, Dj., Vasiljević, B., Bekavac, V., Handbook of Thermodynamics in SI Units, Faculty of Engines, Belgrade, 1995, p. 177.